## Sintesi
Sub
Waf # | type | Split | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10
1 | FZ 525 | no OG; P-spray 3E12 | S6: BD BL@150V
2 | FZ 525 | P-spray 3E12 | defects AC | defects AC | defects AC | defects AC | defects AC | defects AC; BD BL@150V | defects AC | defects AC
3 | FZ 525 | P-spray 3E12; no impianto scribe line | S2: defects AC; S3: defects AC; S4: defects AC; S5: defects AC
4 | FZ 525 | P-spray 5E12 | defects | defects | defects AC |  |  | BD BL@60V | BD BL@80V | BD BL@130V | BD BL@85V | BD BL@85V
5 | FZ 525 | P-spray 5E12 |  | defects AC |  |  |  | BD_BL@60V | BD_BL@90V | short BL-GR; BD_BL@140V | BD_BL@90V | BD_BL@90V
6 | FZ 525 | no OG; P-spray 5E12; no impianto scribe line |  | SBD@130V | SBD_GR@130V |  |  | BD_BL@60V | BD_BL@85V | BD_BL@130V | BD_BL@90V | BD_BL@90V
024 | FZ 200 (0610-01) | no OG; P-spray 3E12 + no impianto scribe line | S5: defects AC; S6: BD_BL@110V; S7: BD_BL@150V; S9: BD_BL@150V; S10: BD_BL@150V
064 | FZ 200 (0610-01) | P-spray 5E12 | SBD_BL@170V | defects AC |  | SBD_BL@85V | SBD_BL@90V; defects | BD@50V | BD@65V | BD@80V | BD@45V | BD@55V
068 | FZ 200 (0610-01) | P-spray 5E12; no impianto scribe line | SBD_BL@165V |  | SBD_BL@95V; 1 defect | SBD_BL@130V | SBD_BL@100V; 1 defect | BD@50V | BD@60V | BD@80V | BD@60V | BD_BL@60V; BD_GR@0V
9 | MCz | no OG; P-spray 3E12 | defects AC | defects AC | defects AC | defects AC | defects AC | BD_BL@130V | SBD_BL@180V; defects R | short BL-GR; defects R | SBD_BL@180V | SBD_BL@180V
44 | MCz | no OG; P-spray 3E12 |  | defects AC; Igr high | defects AC; Igr high | defects AC; Igr high | defects AC&scan; short BL-GR | BD_BL@120V; Igr high | Igr high | ~3 defects; Igr high | defects; Igr high | defects; Igr high
102 | MCz | no OG; P-spray 3E12 + no impianto scribe line | S6: BD_BL@100V; S7: BD_BL@140V; S8: SBD_BL@135V; S9: BD_BL@150V; S10: BD_BL@145V
108 | MCz | no OG; P-spray 3E12; no impianto scribe line |  | defects AC | defects AC | defects AC | defects AC | BD_BL@105V | SBD_BL@150V |  | SBD_BL@175V | SBD_BL@190V
122 | MCz | no OG; P-spray 3E12; no impianto scribe line | S6: BD_BL@105V; S7: SBD_BL@160V
130 | MCz | no OG; P-spray 5E12 |  | short BL-GR | 1 defect R |  |  | BD_BL@50V | BD_BL@60V | BD_BL@85V | BD_BL@65V | BD_BL@65V
248 | MCz | no OG; P-spray 5E12; no impianto scribe line | SBD_BL@170V | defects AC | defects AC | defects AC; SBD_BL@160V | defects AC; SBD_BL@180V | BD_BL@50V | BD_BL@55V | BD_BL@70V | BD_BL@550V | BD_BL@55V
253 | MCz | no OG; P-spray 5E12; no impianto scribe line | SBD_BL@150V | defects AC | defects AC | defects AC; SBD_BL@150V | defects AC; SBD_BL@150V | BD_BL@45V | BD_BL@50V | BD_BL@65V | BD_BL@55V | BD_BL@55V
260 | MCz | no OG; P-spray 5E12; no impianto scribe line | SBD_BL@65V; ~5 defects | SBD_BL@130V; AC defects | AC defects | BD_BL@140V; AC defects | AC defects; short BL-GR | BD_BL@45V | BD_BL@55V | BD_BL@70V | BD_BL@55V | BD_BL@55V

## Sintesi_tot100
I_tot [A] @100V (mean value of each sensor)
Sub
Waf # | type | Split | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10
1 | FZ 525 | no OG; P-spray 3E12 | 3.3548e-07 | 3.2596e-07 | 3.0634e-07 | 2.2536e-07 | 4.6608e-07 | 4.0272e-07 | 2.8816e-07 | 2.4714e-07 | 3.7052e-07 | 4.3928e-07
2 | FZ 525 | P-spray 3E12 | 1.9952e-07 | 1.9866e-07 | 1.9718e-07 | 1.2994e-07 | 2.3864e-07 | 1.9864e-07 | 1.8722e-07 | 1.644e-07 | 2.1006e-07 | 2.13e-07
3 | FZ 525 | P-spray 3E12; no impianto scribe line | 1.5822e-07 | 1.7092e-07 | 2.1982e-07 | 1.0844e-07 | 2.0248e-07 | 2.4246e-07 | 1.9052e-07 | 1.6478e-07 | 2.0228e-07 | 2.281e-07
4 | FZ 525 | P-spray 5E12 | 4.7034e-06 | 8.9968e-07 | 1.6256e-07 | 1.7152e-07 | 2.459e-07 | 3e+31 | 0.00011342 | 3.035e-07 | 0.0001115 | 0.00015084
5 | FZ 525 | P-spray 5E12 | 2.6946e-07 | 2.4282e-07 | 2.039e-07 | 1.8436e-07 | 2.891e-07 | 3e+31 | 0.0001496 | 1.4826e-05 | 0.00017732 | 0.00019722
6 | FZ 525 | no OG; P-spray 5E12; no impianto scribe line | 7.8234e-07 | 5.037e-07 | 3.983e-07 | 4.0042e-07 | 7.4926e-07 | 3e+31 | 0.00021546 | 8.8392e-07 | 0.0002394 | 0.00026884
024 | FZ 200 (0610-01) | no OG; P-spray 3E12 + no impianto scribe line | 2.9728e-07 | 2.9788e-07 | 2.9354e-07 | 2.3206e-07 | 4.8052e-07 | 3.6958e-07 | 2.611e-07 | 2.153e-07 | 3.3334e-07 | 3.9842e-07
064 | FZ 200 (0610-01) | P-spray 5E12 | 2.516e-07 | 1.9442e-07 | 1.7478e-07 | 6.0932e-07 | 6.8446e-07 | 3e+31 | 3e+31 | 0.00022294 | 3e+31 | 3e+31
068 | FZ 200 (0610-01) | P-spray 5E12; no impianto scribe line | 4.2218e-07 | 3.6976e-07 | 4.2388e-07 | 2.5074e-07 | 5.1388e-07 | 3e+31 | 3e+31 | 0.00031028 | 3e+31 | 3e+31
9 | MCz | no OG; P-spray 3E12 | 3.7524e-07 | 3.8288e-07 | 3.6162e-07 | 2.6096e-07 | 5.028e-07 | 4.4842e-07 | 3.4934e-07 | 2.9736e-05 | 4.3084e-07 | 4.8888e-07
44 | MCz | no OG; P-spray 3E12 | 3.6278e-07 | 3.4946e-07 | 3.0246e-07 | 2.1502e-07 | 4.7208e-06 | 4.6878e-07 | 2.9282e-07 | 2.3328e-05 | 3.8434e-05 | 5.6936e-05
102 | MCz | no OG; P-spray 3E12 + no impianto scribe line | 4.0054e-07 | 3.6568e-07 | 3.4152e-07 | 3.316e-07 | 5.539e-07 | 1.0923e-06 | 4.178e-07 | 3.136e-07 | 4.4528e-07 | 5.1494e-07
108 | MCz | no OG; P-spray 3E12; no impianto scribe line | 4.0126e-07 | 4.0994e-07 | 3.9356e-07 | 2.9538e-07 | 5.8788e-07 | 5.8142e-07 | 3.8862e-07 | 2.9394e-07 | 4.0284e-07 | 4.4952e-07
122 | MCz | no OG; P-spray 3E12; no impianto scribe line | 3.4944e-07 | 3.6112e-07 | 3.3712e-07 | 2.707e-07 | 5.3978e-07 | 5.3932e-07 | 3.7046e-07 | 2.62e-07 | 3.7344e-07 | 4.4606e-07
130 | MCz | no OG; P-spray 5E12 | 7.0994e-07 | 9.8676e-06 | 5.131e-07 | 5.3412e-07 | 1.0693e-06 | 3e+31 | 3e+31 | 0.00010345 | 3e+31 | 3e+31
248 | MCz | no OG; P-spray 5E12; no impianto scribe line | 1.0725e-06 | 8.3804e-07 | 6.6498e-07 | 6.9738e-07 | 1.2328e-06 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31
253 | MCz | no OG; P-spray 5E12; no impianto scribe line | 1.272e-06 | 1.0107e-06 | 8.4378e-07 | 9.208e-07 | 1.6886e-06 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31
260 | MCz | no OG; P-spray 5E12; no impianto scribe line | 1.7592e-05 | 9.9458e-07 | 7.647e-07 | 7.567e-07 | 1.8034e-05 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31

## Sintesi_tot100b
|  | 2.82 | sensor area [cm^2]
I_tot [A] @100V (mean value of each sensor)
Sub
Waf # | type | Split | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10
1 | FZ 525 | no OG; P-spray 3E12 | 118.9645 | 115.5887 | 108.6312 | 79.9149 | 165.2766 | 142.8085 | 102.1844 | 87.6383 | 131.3901 | 155.773
2 | FZ 525 | P-spray 3E12 | 70.7518 | 70.4468 | 69.922 | 46.078 | 84.6241 | 70.4397 | 66.3901 | 58.2979 | 74.4894 | 75.5319
3 | FZ 525 | P-spray 3E12; no impianto scribe line | 56.1064 | 60.6099 | 77.9504 | 38.4539 | 71.8014 | 85.9787 | 67.5603 | 58.4326 | 71.7305 | 80.8865
4 | FZ 525 | P-spray 5E12 | 1667.8723 | 319.0355 | 57.6454 | 60.8227 | 87.1986 | 100000 | 40219.1489 | 107.6241 | 39538.2979 | 53489.3617
5 | FZ 525 | P-spray 5E12 | 95.5532 | 86.1064 | 72.305 | 65.3759 | 102.5177 | 100000 | 53049.6454 | 5257.4468 | 62879.4326 | 69936.1702
6 | FZ 525 | no OG; P-spray 5E12; no impianto scribe line | 277.4255 | 178.617 | 141.2411 | 141.9929 | 265.695 | 100000 | 76404.2553 | 313.4468 | 84893.617 | 95333.3333
024 | FZ 200 (0610-01) | no OG; P-spray 3E12 + no impianto scribe line | 105.4184 | 105.6312 | 104.0922 | 82.2908 | 170.3972 | 131.0567 | 92.5887 | 76.3475 | 118.2057 | 141.2837
064 | FZ 200 (0610-01) | P-spray 5E12 | 89.2199 | 68.9433 | 61.9787 | 216.0709 | 242.7163 | 100000 | 100000 | 79056.7376 | 100000 | 100000
068 | FZ 200 (0610-01) | P-spray 5E12; no impianto scribe line | 149.7092 | 131.1206 | 150.3121 | 88.9149 | 182.227 | 100000 | 100000 | 100000 | 100000 | 100000
9 | MCz | no OG; P-spray 3E12 | 133.0638 | 135.773 | 128.234 | 92.539 | 178.2979 | 159.0142 | 123.8794 | 10544.6809 | 152.7801 | 173.3617
44 | MCz | no OG; P-spray 3E12 | 128.6454 | 123.922 | 107.2553 | 76.2482 | 1674.0426 | 166.234 | 103.8369 | 8272.3404 | 13629.078 | 20190.0709
102 | MCz | no OG; P-spray 3E12 + no impianto scribe line | 142.0355 | 129.6738 | 121.1064 | 117.5887 | 196.4184 | 387.3262 | 148.156 | 111.2057 | 157.9007 | 182.6028
108 | MCz | no OG; P-spray 3E12; no impianto scribe line | 142.2908 | 145.3688 | 139.5603 | 104.7447 | 208.4681 | 206.1773 | 137.8085 | 104.234 | 142.8511 | 159.4043
122 | MCz | no OG; P-spray 3E12; no impianto scribe line | 123.9149 | 128.0567 | 119.5461 | 95.9929 | 191.4113 | 191.2482 | 131.3688 | 92.9078 | 132.4255 | 158.1773
130 | MCz | no OG; P-spray 5E12 | 251.7518 | 3499.1489 | 181.9504 | 189.4043 | 379.1773 | 100000 | 100000 | 36682.9787 | 100000 | 100000
248 | MCz | no OG; P-spray 5E12; no impianto scribe line | 380.305 | 297.1773 | 235.8085 | 247.2979 | 437.1631 | 100000 | 100000 | 100000 | 100000 | 100000
253 | MCz | no OG; P-spray 5E12; no impianto scribe line | 451.0638 | 358.4043 | 299.2128 | 326.5248 | 598.7943 | 100000 | 100000 | 100000 | 100000 | 100000
260 | MCz | no OG; P-spray 5E12; no impianto scribe line | 6238.2979 | 352.6879 | 271.1702 | 268.3333 | 6395.0355 | 100000 | 100000 | 100000 | 100000 | 100000

## Sintesi_tot200
I_tot [A] @200V (mean value of each sensor)
Sub
Waf # | type | Split | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10
1 | FZ 525 | no OG; P-spray 3E12 | 4.5596e-07 | 4.28e-07 | 3.9578e-07 | 3.4432e-07 | 6.2944e-07 | 3e+31 | 4.6156e-07 | 3.4166e-07 | 5.2386e-07 | 5.8212e-07
2 | FZ 525 | P-spray 3E12 | 3.11e-07 | 3.0572e-07 | 3.0902e-07 | 2.34e-07 | 3.9968e-07 | 3e+31 | 4.1344e-07 | 3.1146e-07 | 4.0394e-07 | 3.6636e-07
3 | FZ 525 | P-spray 3E12; no impianto scribe line | 2.5192e-07 | 2.599e-07 | 3.5916e-07 | 1.9544e-07 | 3.4468e-07 | 0.00027994 | 4.4476e-07 | 3.2228e-07 | 3.9456e-07 | 3.9546e-07
4 | FZ 525 | P-spray 5E12 | 3e+31 | 2.5472e-05 | 3.9668e-07 | 4.1088e-07 | 6.7038e-07 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31
5 | FZ 525 | P-spray 5E12 | 6.6258e-07 | 5.5624e-07 | 4.6666e-07 | 4.681e-07 | 8.17e-07 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31
6 | FZ 525 | no OG; P-spray 5E12; no impianto scribe line | 1.5632e-06 | 2.8188e-05 | 8.3652e-07 | 8.9556e-07 | 1.73e-06 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31
024 | FZ 200 (0610-01) | no OG; P-spray 3E12 + no impianto scribe line | 4.5016e-07 | 4.8448e-07 | 4.1662e-07 | 4.4198e-07 | 7.0438e-07 | 3e+31 | 3e+31 | 5.9306e-07 | 3e+31 | 3e+31
064 | FZ 200 (0610-01) | P-spray 5E12 | 4.7234e-05 | 1.119e-06 | 2.308e-06 | 0.00028894 | 7.1622e-05 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31
068 | FZ 200 (0610-01) | P-spray 5E12; no impianto scribe line | 5.6984e-05 | 1.8252e-06 | 5.0572e-06 | 0.00019076 | 6.6516e-05 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31
9 | MCz | no OG; P-spray 3E12 | 5.098e-07 | 5.6968e-07 | 4.6366e-07 | 4.1508e-07 | 6.82e-07 | 3e+31 | 2.8964e-05 | 2.7394e-05 | 3.0874e-05 | 1.3162e-05
44 | MCz | no OG; P-spray 3E12 | 5.0538e-07 | 4.8066e-07 | 4.1674e-07 | 3.278e-07 | 0.0001285 | 3e+31 | 5.4656e-07 | 6.3086e-05 | 0.00015664 | 0.00019364
102 | MCz | no OG; P-spray 3E12 + no impianto scribe line | 6.0722e-07 | 5.211e-07 | 4.6522e-07 | 6.3202e-07 | 7.219e-07 | 3e+31 | 3e+31 | 1.5362e-05 | 3e+31 | 0.00037766
108 | MCz | no OG; P-spray 3E12; no impianto scribe line | 5.6368e-07 | 5.399e-07 | 5.0168e-07 | 4.7314e-07 | 7.51e-07 | 3e+31 | 0.00028058 | 4.4514e-07 | 2.4812e-05 | 3.4782e-06
122 | MCz | no OG; P-spray 3E12; no impianto scribe line | 4.7754e-07 | 5.2466e-07 | 4.5484e-07 | 4.047e-07 | 7.0142e-07 | 3e+31 | 2.981e-05 | 3.8148e-07 | 5.4084e-07 | 6.042e-07
130 | MCz | no OG; P-spray 5E12 | 1.835e-06 | 9.5738e-06 | 1.9074e-06 | 1.593e-06 | 2.7364e-06 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31
248 | MCz | no OG; P-spray 5E12; no impianto scribe line | 2.2182e-05 | 1.9048e-06 | 1.3128e-06 | 2.4742e-05 | 1.1792e-05 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31
253 | MCz | no OG; P-spray 5E12; no impianto scribe line | 0.00010736 | 3.4132e-06 | 1.7434e-06 | 0.0001154 | 0.00011022 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31
260 | MCz | no OG; P-spray 5E12; no impianto scribe line | 3e+31 | 1.4532e-05 | 1.6282e-06 | 0.0002569 | 1.3562e-05 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31

## Sintesi_tot200b
|  | 2.82 | sensor area [cm^2]
I_tot [A] @200V (mean value of each sensor)
Sub
Waf # | type | Split | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10
1 | FZ 525 | no OG; P-spray 3E12 | 161.6879 | 151.773 | 140.3475 | 122.0993 | 223.2057 | 100000 | 163.6738 | 121.156 | 185.766 | 206.4255
2 | FZ 525 | P-spray 3E12 | 110.2837 | 108.4113 | 109.5816 | 82.9787 | 141.7305 | 100000 | 146.6099 | 110.4468 | 143.2411 | 129.9149
3 | FZ 525 | P-spray 3E12; no impianto scribe line | 89.3333 | 92.1631 | 127.3617 | 69.305 | 122.227 | 99269.5035 | 157.7163 | 114.2837 | 139.9149 | 140.234
4 | FZ 525 | P-spray 5E12 | 100000 | 9032.6241 | 140.6667 | 145.7021 | 237.7234 | 100000 | 100000 | 100000 | 100000 | 100000
5 | FZ 525 | P-spray 5E12 | 234.9574 | 197.2482 | 165.4823 | 165.9929 | 289.7163 | 100000 | 100000 | 100000 | 100000 | 100000
6 | FZ 525 | no OG; P-spray 5E12; no impianto scribe line | 554.3262 | 9995.7447 | 296.6383 | 317.5745 | 613.4752 | 100000 | 100000 | 100000 | 100000 | 100000
024 | FZ 200 (0610-01) | no OG; P-spray 3E12 + no impianto scribe line | 159.6312 | 171.8014 | 147.7376 | 156.7305 | 249.7801 | 100000 | 100000 | 210.305 | 100000 | 100000
064 | FZ 200 (0610-01) | P-spray 5E12 | 16749.6454 | 396.8227 | 818.4397 | 100000 | 25397.8723 | 100000 | 100000 | 100000 | 100000 | 100000
068 | FZ 200 (0610-01) | P-spray 5E12; no impianto scribe line | 20207.0922 | 647.234 | 1793.3333 | 67645.3901 | 23587.234 | 100000 | 100000 | 100000 | 100000 | 100000
9 | MCz | no OG; P-spray 3E12 | 180.7801 | 202.0142 | 164.4184 | 147.1915 | 241.844 | 100000 | 10270.922 | 9714.1844 | 10948.227 | 4667.3759
44 | MCz | no OG; P-spray 3E12 | 179.2128 | 170.4468 | 147.7801 | 116.2411 | 45567.3759 | 100000 | 193.8156 | 22370.922 | 55546.0993 | 68666.6667
102 | MCz | no OG; P-spray 3E12 + no impianto scribe line | 215.3262 | 184.7872 | 164.9716 | 224.1206 | 255.9929 | 100000 | 100000 | 5447.5177 | 100000 | 100000
108 | MCz | no OG; P-spray 3E12; no impianto scribe line | 199.8865 | 191.4539 | 177.9007 | 167.7801 | 266.3121 | 100000 | 99496.4539 | 157.8511 | 8798.5816 | 1233.4043
122 | MCz | no OG; P-spray 3E12; no impianto scribe line | 169.3404 | 186.0496 | 161.2908 | 143.5106 | 248.7305 | 100000 | 10570.922 | 135.2766 | 191.7872 | 214.2553
130 | MCz | no OG; P-spray 5E12 | 650.7092 | 3394.9645 | 676.383 | 564.8936 | 970.3546 | 100000 | 100000 | 100000 | 100000 | 100000
248 | MCz | no OG; P-spray 5E12; no impianto scribe line | 7865.9574 | 675.461 | 465.5319 | 8773.7589 | 4181.5603 | 100000 | 100000 | 100000 | 100000 | 100000
253 | MCz | no OG; P-spray 5E12; no impianto scribe line | 38070.922 | 1210.3546 | 618.227 | 40921.9858 | 39084.3972 | 100000 | 100000 | 100000 | 100000 | 100000
260 | MCz | no OG; P-spray 5E12; no impianto scribe line | 100000 | 5153.1915 | 577.3759 | 91099.2908 | 4809.2199 | 100000 | 100000 | 100000 | 100000 | 100000

## Sintesi_R
R_tot [Kohm] (mean value of each sensor)
Sub
Waf # | type | Split | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10
1 | FZ 525 | no OG; P-spray 3E12 | 378.1756 | 401.5694 | 415.6571 | 397.3716 | 400.618 | 403.9595 | 423.5972 | 419.0927 | 414.4301 | 418.9783
2 | FZ 525 | P-spray 3E12 | 578.1635 | 620.1423 | 635.4988 | 617.5459 | 622.6075 | 608.4311 | 633.4205 | 611.8746 | 605.8868 | 607.225
3 | FZ 525 | P-spray 3E12; no impianto scribe line | 545.2845 | 588.6663 | 631.4532 | 594.683 | 581.8865 | 569.893 | 622.0045 | 614.3485 | 599.1144 | 581.0696
4 | FZ 525 | P-spray 5E12 | 622.4993 | 735.5627 | 808.0516 | 740.302 | 738.1788 | 2e+27 | 2e+27 | 759.3329 | 2e+27 | 2e+27
5 | FZ 525 | P-spray 5E12 | 590.3097 | 640.788 | 665.9095 | 648.8035 | 650.9862 | 2e+27 | 2e+27 | 644.7569 | 2e+27 | 2e+27
6 | FZ 525 | no OG; P-spray 5E12; no impianto scribe line | 535.419 | 605.0103 | 662.7383 | 622.6506 | 616.8959 | 2e+27 | 2e+27 | 644.5855 | 2e+27 | 2e+27
024 | FZ 200 (0610-01) | no OG; P-spray 3E12 + no impianto scribe line | 447.1167 | 504.0967 | 547.6157 | 505.6955 | 498.8978 | 500.9272 | 541.125 | 535.7653 | 521.7243 | 514.9385
064 | FZ 200 (0610-01) | P-spray 5E12 | 570.3824 | 620.4352 | 642.8914 | 585.4836 | 4983789.2155 | 2e+27 | 2e+27 | 2e+27 | 2e+27 | 2e+27
068 | FZ 200 (0610-01) | P-spray 5E12; no impianto scribe line | 532.6863 | 572.6732 | 586.9565 | 542.2207 | 534.8671 | 2e+27 | 2e+27 | 2e+27 | 2e+27 | 2e+27
9 | MCz | no OG; P-spray 3E12 | 483.907 | 530.0392 | 559.2534 | 535.449 | 537.5608 | 550.1166 | 3890730.3508 | 871496.1006 | 544.3103 | 513.7249
44 | MCz | no OG; P-spray 3E12 | 495.6875 | 549.0568 | 595.3321 | 558.254 | 551.7008 | 550.4874 | 578.0958 | 6.25e+25 | 1.25e+26 | 1.875e+26
102 | MCz | no OG; P-spray 3E12 + no impianto scribe line | 404.1476 | 452.8015 | 482.4918 | 428.6379 | 427.9274 | 395.1327 | 462.0664 | 464.6 | 461.5033 | 474.8723
108 | MCz | no OG; P-spray 3E12; no impianto scribe line | 444.8786 | 499.2513 | 551.3551 | 529.8489 | 532.3957 | 527.3994 | 562.6058 | 533.7842 | 504.8072 | 481.2752
122 | MCz | no OG; P-spray 3E12; no impianto scribe line | 430.5892 | 474.024 | 529.8261 | 520.4134 | 532.5777 | 533.7348 | 570.9207 | 537.634 | 513.9713 | 503.1825
130 | MCz | no OG; P-spray 5E12 | 487.3495 | 528.2747 | 583.5756 | 554.1371 | 562.4004 | 2e+27 | 2e+27 | 2e+27 | 2e+27 | 2e+27
248 | MCz | no OG; P-spray 5E12; no impianto scribe line | 415.4785 | 439.6589 | 462.2679 | 431.8343 | 430.1324 | 2e+27 | 2e+27 | 2e+27 | 2e+27 | 2e+27
253 | MCz | no OG; P-spray 5E12; no impianto scribe line | 484.0633 | 519.0157 | 566.6813 | 544.0132 | 543.2174 | 2e+27 | 2e+27 | 2e+27 | 2e+27 | 2e+27
260 | MCz | no OG; P-spray 5E12; no impianto scribe line | 6.25e+25 | 550.0703 | 587.5913 | 544.5952 | 539.1377 | 2e+27 | 2e+27 | 2e+27 | 2e+27 | 2e+27

## W1
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 1 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | FZ 525 | S1 | 3.3548e-07 | 1.3406e-08 | 4.5596e-07 | 1.7232e-08 | 5.4754e-09 | 3.5954e-09 | 6.2587e-12 | 7.5514e-13 | 378.1756 | 3.1637
|  | S2 | 3.2596e-07 | 1.1306e-08 | 4.28e-07 | 1.415e-08 | 5.3123e-09 | 3.4342e-09 | 6.8647e-12 | 8.2262e-13 | 401.5694 | 3.0801
no OG; P-spray 3E12 |  | S3 | 3.0634e-07 | 1.064e-08 | 3.9578e-07 | 1.3218e-08 | 5.0098e-09 | 3.2077e-09 | 7.4369e-12 | 1.1262e-12 | 415.6571 | 4.6998
|  | S4 | 2.2536e-07 | 1.044e-08 | 3.4432e-07 | 1.2868e-08 | 3.6905e-09 | 2.5305e-09 | 6.2834e-12 | 8.0544e-13 | 397.3716 | 2.1013
|  | S5 | 4.6608e-07 | 1.0414e-08 | 6.2944e-07 | 1.356e-08 | 7.5066e-09 | 5.4829e-09 | 6.5256e-12 | 8.2186e-13 | 400.618 | 1.8328
|  | S6 | 4.0272e-07 | 1.0752e-08 | 3e+31 | 1.428e-08 | 1.301e-08 | 1.104e-08 | 7.455e-12 | 8.7398e-13 | 403.9595 | 1.0566 | BD BL@150V
|  | S7 | 2.8816e-07 | 1.5492e-08 | 4.6156e-07 | 1.8142e-08 | 9.4398e-09 | 7.0666e-09 | 7.7825e-12 | 9.44e-13 | 423.5972 | 3.2665
|  | S8 | 2.4714e-07 | 1.0874e-08 | 3.4166e-07 | 1.3556e-08 | 8.0783e-09 | 5.5889e-09 | 8.1887e-12 | 8.9762e-13 | 419.0927 | 2.4699
|  | S9 | 3.7052e-07 | 1.2014e-08 | 5.2386e-07 | 1.506e-08 | 1.1976e-08 | 8.8791e-09 | 7.735e-12 | 7.9677e-13 | 414.4301 | 2.0008
|  | S10 | 4.3928e-07 | 1.3204e-08 | 5.8212e-07 | 1.6702e-08 | 1.404e-08 | 1.0378e-08 | 7.8263e-12 | 8.77e-13 | 418.9783 | 2.4362

## W2
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 2 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | FZ 525 | S1 | 1.9952e-07 | 1.2314e-08 | 3.11e-07 | 1.587e-08 | 2.7983e-09 | 3.5191e-09 | 9.375e+29 | 5.261e+30 | 578.1635 | 3.7497 | defects AC
|  | S2 | 1.9866e-07 | 1.1546e-08 | 3.0572e-07 | 1.4606e-08 | 2.8818e-09 | 3.588e-09 | 9.8438e+30 | 1.4197e+31 | 620.1423 | 7.5945 | defects AC
P-spray 3E12 |  | S3 | 1.9718e-07 | 1.1186e-08 | 3.0902e-07 | 1.4032e-08 | 3.103e-09 | 4.0448e-09 | 1.6875e+31 | 1.5e+31 | 635.4988 | 55.6071 | defects AC
|  | S4 | 1.2994e-07 | 1.1066e-08 | 2.34e-07 | 1.3788e-08 | 1.7562e-09 | 2.5876e-09 | 1.9688e+31 | 1.4361e+31 | 617.5459 | 3.7466 | defects AC
|  | S5 | 2.3864e-07 | 1.1106e-08 | 3.9968e-07 | 1.3834e-08 | 3.4967e-09 | 5.3582e-09 | 2.7187e+31 | 8.8135e+30 | 622.6075 | 3.0964 | defects AC
|  | S6 | 1.9864e-07 | 1.5706e-08 | 3e+31 | 3.1032e-08 | 5.0752e-09 | 9.7807e-09 | 1.5e+31 | 1.524e+31 | 608.4311 | 3.8002 | defects AC; BD BL@150V
|  | S7 | 1.8722e-07 | 1.1336e-08 | 4.1344e-07 | 1.4136e-08 | 5.172e-09 | 7.8542e-09 | 9.375e+30 | 1.4128e+31 | 633.4205 | 4.7071 | defects AC
|  | S8 | 1.644e-07 | 1.1558e-08 | 3.1146e-07 | 1.4518e-08 | 4.9379e-09 | 6.4629e-09 | 7.5e+30 | 1.3198e+31 | 611.8746 | 3.9257 | defects AC
|  | S9 | 2.1006e-07 | 1.2342e-08 | 4.0394e-07 | 1.558e-08 | 6.2786e-09 | 9.4549e-09 | 2.4682e-11 | 4.0787e-12 | 605.8868 | 3.3984
|  | S10 | 2.13e-07 | 1.3198e-08 | 3.6636e-07 | 1.68e-08 | 6.694e-09 | 1.031e-08 | 1.888e-11 | 3.3831e-12 | 607.225 | 4.7111

## W3
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 3 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | FZ 525 | S1 | 1.5822e-07 | 1.3556e-08 | 2.5192e-07 | 1.8088e-08 | 2.1885e-09 | 2.339e-09 | 1.4757e-11 | 4.3866e-12 | 545.2845 | 8.1205
|  | S2 | 1.7092e-07 | 1.0546e-08 | 2.599e-07 | 1.316e-08 | 2.4414e-09 | 2.4307e-09 | 3.2812e+30 | 9.4373e+30 | 588.6663 | 5.6503 | defects AC
P-spray 3E12 |  | S3 | 2.1982e-07 | 1.0942e-08 | 3.5916e-07 | 1.3818e-08 | 3.2624e-09 | 4.7436e-09 | 2.0625e+31 | 1.4015e+31 | 631.4532 | 7.7471 | defects AC
no impianto scribe line |  | S4 | 1.0844e-07 | 1.1134e-08 | 1.9544e-07 | 1.3892e-08 | 1.4254e-09 | 1.5937e-09 | 6.5625e+30 | 1.25e+31 | 594.683 | 7.2583 | defects AC
|  | S5 | 2.0248e-07 | 1.047e-08 | 3.4468e-07 | 1.3332e-08 | 2.8787e-09 | 3.1835e-09 | 1.6406e+31 | 1.5052e+31 | 581.8865 | 6.0907 | defects AC
|  | S6 | 2.4246e-07 | 1.1332e-08 | 0.00027994 | 1.3958e-08 | 5.5382e-09 | 7.0972e-09 | 3.6149e-11 | 5.7585e-12 | 569.893 | 4.4697
|  | S7 | 1.9052e-07 | 1.153e-08 | 4.4476e-07 | 1.4444e-08 | 4.7626e-09 | 5.3444e-09 | 3.3664e-11 | 1.9585e-12 | 622.0045 | 7.6178
|  | S8 | 1.6478e-07 | 1.1294e-08 | 3.2228e-07 | 1.4128e-08 | 4.5601e-09 | 4.5859e-09 | 2.9271e-11 | 3.5002e-12 | 614.3485 | 9.3244
|  | S9 | 2.0228e-07 | 1.189e-08 | 3.9456e-07 | 1.4922e-08 | 5.6767e-09 | 6.4551e-09 | 2.5974e-11 | 4.5569e-12 | 599.1144 | 6.6369
|  | S10 | 2.281e-07 | 1.2596e-08 | 3.9546e-07 | 1.5864e-08 | 6.8598e-09 | 7.8119e-09 | 2.0526e-11 | 3.6223e-12 | 581.0696 | 6.199

## W4
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 4 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | FZ 525 | S1 | 4.7034e-06 | 2.5948e-08 | 3e+31 | 8.5478e-06 | 8.8683e-08 | 2.4215e-07 | 1.5469e-11 | 4.482e-12 | 622.4993 | 59.7898 | defects
|  | S2 | 8.9968e-07 | 2.1568e-08 | 2.5472e-05 | 9.3166e-05 | 1.3224e-08 | 6.0729e-08 | 1.8092e-11 | 4.7826e-12 | 735.5627 | 31.2805 | defects
P-spray 5E12 |  | S3 | 1.6256e-07 | 1.528e-08 | 3.9668e-07 | 2.173e-08 | 2.3386e-09 | 2.856e-09 | 2.1214e-11 | 6.8595e-12 | 808.0516 | 17.8063 | defects AC
|  | S4 | 1.7152e-07 | 1.6124e-08 | 4.1088e-07 | 2.3592e-08 | 2.419e-09 | 2.83e-09 | 9.375e+29 | 5.261e+30 | 740.302 | 8.349
|  | S5 | 2.459e-07 | 1.5374e-08 | 6.7038e-07 | 2.1806e-08 | 3.6287e-09 | 4.6128e-09 | 2.3124e-11 | 5.2916e-12 | 738.1788 | 6.409
|  | S6 | 3e+31 | 1.963e-08 | 3e+31 | 3e+31 | 3e+31 | 0 | 1.875e+30 | 7.378e+30 | 2e+27 | 0 | BD BL@60V
|  | S7 | 0.00011342 | 1.5778e-08 | 3e+31 | 3e+31 | 2.8125e+31 | 7.378e+30 | 3.1416e-11 | 1.43e-12 | 2e+27 | 0 | BD BL@80V
|  | S8 | 3.035e-07 | 1.5638e-08 | 3e+31 | 2.438e-08 | 9.4836e-09 | 1.4621e-08 | 2.7386e-11 | 2.6861e-12 | 759.3329 | 11.5424 | BD BL@130V
|  | S9 | 0.0001115 | 1.6274e-08 | 3e+31 | 3e+31 | 2.7188e+31 | 8.8843e+30 | 2.4553e-11 | 3.581e-12 | 2e+27 | 0 | BD BL@85V
|  | S10 | 0.00015084 | 1.6834e-08 | 3e+31 | 3e+31 | 2.9063e+31 | 5.3033e+30 | 1.9448e-11 | 3.1138e-12 | 2e+27 | 0 | BD BL@85V

## W5
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 5 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | FZ 525 | S1 | 2.6946e-07 | 1.1172e-08 | 6.6258e-07 | 1.4226e-08 | 4.0702e-09 | 5.237e-09 | 1.3327e-11 | 3.7712e-12 | 590.3097 | 4.7508
|  | S2 | 2.4282e-07 | 9.4668e-09 | 5.5624e-07 | 1.174e-08 | 3.671e-09 | 4.4057e-09 | 9.375e+29 | 5.261e+30 | 640.788 | 11.3355 | defects AC
P-spray 5E12 |  | S3 | 2.039e-07 | 9.107e-09 | 4.6666e-07 | 1.1222e-08 | 3.1102e-09 | 3.59e-09 | 1.6884e-11 | 4.8488e-12 | 665.9095 | 8.6322
|  | S4 | 1.8436e-07 | 8.9022e-09 | 4.681e-07 | 1.8808e-08 | 2.7828e-09 | 3.7915e-09 | 1.8304e-11 | 5.2029e-12 | 648.8035 | 7.4126
|  | S5 | 2.891e-07 | 8.9526e-09 | 8.17e-07 | 1.0996e-08 | 4.4262e-09 | 6.2626e-09 | 1.988e-11 | 5.1496e-12 | 650.9862 | 5.559
|  | S6 | 3e+31 | 1.0396e-08 | 3e+31 | 3e+31 | 3e+31 | 0 | 3.0144e-11 | 2.4778e-12 | 2e+27 | 0 | BD_BL@60V
|  | S7 | 0.0001496 | 4.1802e-06 | 3e+31 | 3e+31 | 2.9063e+31 | 5.3033e+30 | 2.8588e-11 | 2.9122e-12 | 2e+27 | 0 | BD_BL@90V
|  | S8 | 1.4826e-05 | 1.5564e-05 | 3e+31 | 3e+31 | 1.4476e-08 | 1.9924e-08 | 2.5145e-11 | 4.1344e-12 | 644.7569 | 5.6139 | short BL-GR; BD_BL@140V
|  | S9 | 0.00017732 | 1.0886e-08 | 3e+31 | 3e+31 | 3e+31 | 0 | 9.375e+29 | 5.3033e+30 | 2e+27 | 0 | BD_BL@90V
|  | S10 | 0.00019722 | 1.1542e-08 | 3e+31 | 3e+31 | 3e+31 | 0 | 1.7331e-11 | 3.4089e-12 | 2e+27 | 0 | BD_BL@90V

## W6
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 6 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | FZ 525 | S1 | 7.8234e-07 | 2.0104e-08 | 1.5632e-06 | 2.7772e-08 | 1.2195e-08 | 7.5757e-09 | 6.5788e-12 | 7.8688e-13 | 535.419 | 6.1081
|  | S2 | 5.037e-07 | 1.6952e-08 | 2.8188e-05 | 1.7374e-05 | 7.9078e-09 | 5.0029e-09 | 7.0703e-12 | 7.7424e-13 | 605.0103 | 13.3919 | SBD@130V
no OG; P-spray 5E12 |  | S3 | 3.983e-07 | 1.5534e-08 | 8.3652e-07 | 1.7688e-05 | 6.2326e-09 | 3.8424e-09 | 4.6875e+29 | 3.75e+30 | 662.7383 | 14.2651 | SBD_GR@130V
no impianto scribe line |  | S4 | 4.0042e-07 | 1.541e-08 | 8.9556e-07 | 1.9644e-08 | 6.2818e-09 | 4.2477e-09 | 6.5803e-12 | 7.6619e-13 | 622.6506 | 5.2253
|  | S5 | 7.4926e-07 | 1.6058e-08 | 1.73e-06 | 2.0588e-08 | 1.1756e-08 | 8.2398e-09 | 6.8191e-12 | 1.0778e-12 | 616.8959 | 2.2326
|  | S6 | 3e+31 | 8.0096e-06 | 3e+31 | 3e+31 | 3e+31 | 0 | 6.545e-12 | 7.9209e-13 | 2e+27 | 0 | BD_BL@60V
|  | S7 | 0.00021546 | 1.718e-08 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.4988e-12 | 7.7054e-13 | 2e+27 | 0 | BD_BL@85V
|  | S8 | 8.8392e-07 | 1.5998e-08 | 3e+31 | 2.257e-08 | 2.8131e-08 | 2.0142e-08 | 8.1531e-12 | 7.7479e-13 | 644.5855 | 14.0501 | BD_BL@130V
|  | S9 | 0.0002394 | 1.75e-08 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.6063e-12 | 8.7161e-13 | 2e+27 | 0 | BD_BL@90V
|  | S10 | 0.00026884 | 1.8828e-08 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.8219e-12 | 8.0688e-13 | 2e+27 | 0 | BD_BL@90V

## W024
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 24 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | FZ 200 | S1 | 2.9728e-07 | 2.0072e-09 | 4.5016e-07 | 2.482e-09 | 4.7828e-09 | 3.2414e-09 | 5.2894e-12 | 6.4996e-13 | 447.1167 | 3.7806
|  | S2 | 2.9788e-07 | 1.2228e-09 | 4.8448e-07 | 1.478e-09 | 4.8111e-09 | 3.1676e-09 | 5.84e-12 | 6.6463e-13 | 504.0967 | 6.2208
no OG; P-spray 3E12 |  | S3 | 2.9354e-07 | 1.2362e-09 | 4.1662e-07 | 1.4992e-09 | 4.7648e-09 | 3.0597e-09 | 6.3222e-12 | 6.7146e-13 | 547.6157 | 6.2824
no impianto scribe line |  | S4 | 2.3206e-07 | 1.3612e-09 | 4.4198e-07 | 1.64e-09 | 3.7639e-09 | 2.6518e-09 | 5.5437e-12 | 6.8421e-13 | 505.6955 | 2.0441
|  | S5 | 4.8052e-07 | 1.7022e-09 | 7.0438e-07 | 2.0868e-09 | 7.798e-09 | 5.5871e-09 | 1.875e+31 | 1.4639e+31 | 498.8978 | 1.72 | defects AC
|  | S6 | 3.6958e-07 | 2.024e-09 | 3e+31 | 3e+31 | 1.2234e-08 | 9.3081e-09 | 5.2825e-12 | 6.7617e-13 | 500.9272 | 2.2127 | BD_BL@110V
|  | S7 | 2.611e-07 | 1.558e-09 | 3e+31 | 6.9356e-05 | 8.2243e-09 | 6.2107e-09 | 5.9306e-12 | 6.9053e-13 | 541.125 | 4.6998 | BD_BL@150V
|  | S8 | 2.153e-07 | 1.1532e-09 | 5.9306e-07 | 1.4046e-09 | 6.8088e-09 | 4.7031e-09 | 6.4775e-12 | 6.0624e-13 | 535.7653 | 4.5977
|  | S9 | 3.3334e-07 | 1.2188e-09 | 3e+31 | 1.7688e-09 | 1.0691e-08 | 7.8631e-09 | 6.3325e-12 | 6.8878e-13 | 521.7243 | 5.5841 | BD_BL@150V
|  | S10 | 3.9842e-07 | 1.2806e-09 | 3e+31 | 1.9036e-09 | 1.2743e-08 | 8.9833e-09 | 6.5275e-12 | 7.31e-13 | 514.9385 | 7.8179 | BD_BL@150V

## W064
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 64 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | FZ 200 | S1 | 2.516e-07 | 1.0954e-09 | 4.7234e-05 | 1.5502e-09 | 3.9697e-09 | 5.6835e-09 | 1.4739e-11 | 4.678e-12 | 570.3824 | 5.042 | SBD_BL@170V
|  | S2 | 1.9442e-07 | 1.1098e-09 | 1.119e-06 | 1.539e-09 | 3.0387e-09 | 4.768e-09 | 1.8186e-11 | 5.713e-12 | 620.4352 | 7.1568 | defects AC
P-spray 5E12 |  | S3 | 1.7478e-07 | 1.1834e-09 | 2.308e-06 | 1.5908e-09 | 2.7482e-09 | 4.433e-09 | 4.6875e+29 | 3.75e+30 | 642.8914 | 8.7849
|  | S4 | 6.0932e-07 | 1.0784e-09 | 0.00028894 | 1.9402e-09 | 9.2622e-09 | 5.93e-08 | 2.1551e-11 | 6.101e-12 | 585.4836 | 34.6029 | SBD_BL@85V
|  | S5 | 6.8446e-07 | 1.082e-09 | 7.1622e-05 | 1.502e-09 | 6.6874e-09 | 2.7317e-08 | 2.2908e-11 | 5.1777e-12 | 4983789.2155 | 27968648.817 | SBD_BL@90V; defects
|  | S6 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 0 | 3.4108e-11 | 3.2145e-12 | 2e+27 | 0 | BD@50V
|  | S7 | 3e+31 | 1.1066e-05 | 3e+31 | 3e+31 | 3e+31 | 0 | 3.2655e-11 | 2.0998e-12 | 2e+27 | 0 | BD@65V
|  | S8 | 0.00022294 | 1.0238e-09 | 3e+31 | 0.0001878 | 3e+31 | 0 | 7.531e-11 | 2.6256e-10 | 2e+27 | 0 | BD@80V
|  | S9 | 3e+31 | 1.2276e-09 | 3e+31 | 0.00038508 | 3e+31 | 0 | 2.3161e-11 | 4.7521e-12 | 2e+27 | 0 | BD@45V
|  | S10 | 3e+31 | 4.8624e-09 | 3e+31 | 0.00038214 | 3e+31 | 0 | 1.7373e-11 | 3.484e-12 | 2e+27 | 0 | BD@55V

## W068
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 68 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | FZ 200 | S1 | 4.2218e-07 | 1.3412e-09 | 5.6984e-05 | 2.2582e-09 | 6.7617e-09 | 9.1713e-09 | 8.8225e-12 | 1.8251e-12 | 532.6863 | 2.512 | SBD_BL@165V
|  | S2 | 3.6976e-07 | 1.2706e-09 | 1.8252e-06 | 1.7974e-09 | 5.8694e-09 | 7.5246e-09 | 9.1787e-12 | 1.7047e-12 | 572.6732 | 4.5339
P-spray 5E12 |  | S3 | 4.2388e-07 | 1.2612e-09 | 5.0572e-06 | 1.7408e-09 | 8.8761e-09 | 3.3671e-08 | 9.5169e-12 | 1.6523e-12 | 586.9565 | 11.6398 | SBD_BL@95V; 1 defect
no impianto scribe line |  | S4 | 2.5074e-07 | 1.2606e-09 | 0.00019076 | 9.908e-06 | 4.0209e-09 | 6.3006e-09 | 9.2197e-12 | 1.7149e-12 | 542.2207 | 4.411 | SBD_BL@130V
|  | S5 | 5.1388e-07 | 1.3734e-09 | 6.6516e-05 | 1.9532e-09 | 1.1134e-08 | 3.3585e-08 | 8.7841e-12 | 1.4039e-12 | 534.8671 | 7.4215 | SBD_BL@100V; 1 defect
|  | S6 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 0 | 1.0906e-11 | 7.483e-13 | 2e+27 | 0 | BD@50V
|  | S7 | 3e+31 | 6.4758e-05 | 3e+31 | 3e+31 | 3e+31 | 0 | 1.0589e-11 | 1.1353e-12 | 2e+27 | 0 | BD@60V
|  | S8 | 0.00031028 | 1.3326e-09 | 3e+31 | 0.00024888 | 3e+31 | 0 | 1.0589e-11 | 1.0167e-12 | 2e+27 | 0 | BD@80V
|  | S9 | 3e+31 | 1.5908e-09 | 3e+31 | 0.00047898 | 3e+31 | 0 | 9.8612e-12 | 1.031e-12 | 2e+27 | 0 | BD@60V
|  | S10 | 3e+31 | 0.00015034 | 3e+31 | 3e+31 | 3e+31 | 0 | 9.6331e-12 | 9.8065e-13 | 2e+27 | 0 | BD_BL@60V; BD_GR@0V

## W009
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 9 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | MCz | S1 | 3.7524e-07 | 7.5308e-09 | 5.098e-07 | 9.3128e-09 | 5.8693e-09 | 4.4769e-09 | 4.6875e+29 | 3.75e+30 | 483.907 | 5.4627 | defects AC
|  | S2 | 3.8288e-07 | 8.7964e-09 | 5.6968e-07 | 1.0614e-08 | 6.0148e-09 | 4.3123e-09 | 4.2187e+30 | 1.0511e+31 | 530.0392 | 4.8364 | defects AC
no OG; P-spray 3E12 |  | S3 | 3.6162e-07 | 1.57e-08 | 4.6366e-07 | 1.7744e-08 | 5.6578e-09 | 3.9302e-09 | 9.375e+30 | 1.4015e+31 | 559.2534 | 5.2033 | defects AC
|  | S4 | 2.6096e-07 | 1.1378e-07 | 4.1508e-07 | 1.1236e-07 | 4.0042e-09 | 3.0185e-09 | 3.75e+30 | 1e+31 | 535.449 | 2.6543 | defects AC
|  | S5 | 5.028e-07 | 1.973e-07 | 6.82e-07 | 1.9878e-07 | 7.8598e-09 | 5.9589e-09 | 5.1562e+30 | 1.1408e+31 | 537.5608 | 2.0659 | defects AC
|  | S6 | 4.4842e-07 | 2.0682e-07 | 3e+31 | 6.9612e-05 | 1.4179e-08 | 1.194e-08 | 7.0181e-12 | 8.7886e-13 | 550.1166 | 3.4765 | BD_BL@130V
|  | S7 | 3.4934e-07 | 2.1868e-07 | 2.8964e-05 | 2.2486e-07 | 1.1238e-08 | 8.0985e-09 | 7.7162e-12 | 8.3484e-13 | 3890730.3508 | 8663175.3037 | SBD_BL@180V; defects R
|  | S8 | 2.9736e-05 | 2.9796e-05 | 2.7394e-05 | 2.8434e-05 | 9.8581e-09 | 6.3982e-09 | 8.2519e-12 | 8.3135e-13 | 871496.1006 | 1488814.4054 | short BL-GR; defects R
|  | S9 | 4.3084e-07 | 1.0792e-08 | 3.0874e-05 | 1.28e-08 | 1.3581e-08 | 1.0091e-08 | 7.8344e-12 | 8.8063e-13 | 544.3103 | 13.9254 | SBD_BL@180V
|  | S10 | 4.8888e-07 | 9.7636e-09 | 1.3162e-05 | 1.187e-08 | 1.534e-08 | 1.1648e-08 | 7.9881e-12 | 9.0899e-13 | 513.7249 | 3.3731 | SBD_BL@180V

## W044
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 44 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | MCz | S1 | 3.6278e-07 | 7.8684e-09 | 5.0538e-07 | 9.145e-09 | 5.7897e-09 | 4.221e-09 | 6.6637e-12 | 7.6382e-13 | 495.6875 | 4.0395
|  | S2 | 3.4946e-07 | 3.5948e-07 | 4.8066e-07 | 3.2596e-07 | 5.601e-09 | 3.9361e-09 | 2.3437e+30 | 8.1147e+30 | 549.0568 | 7.853 | defects AC; Igr high
no OG; P-spray 3E12 |  | S3 | 3.0246e-07 | 8.1404e-07 | 4.1674e-07 | 7.104e-07 | 4.8757e-09 | 3.422e-09 | 8.9063e+30 | 1.3815e+31 | 595.3321 | 8.3747 | defects AC; Igr high
|  | S4 | 2.1502e-07 | 1.4626e-06 | 3.278e-07 | 1.3e-06 | 3.4671e-09 | 2.7585e-09 | 3.2812e+30 | 9.4373e+30 | 558.254 | 2.663 | defects AC; Igr high
|  | S5 | 4.7208e-06 | 1.7432e-05 | 0.0001285 | 4.1764e-05 | 2.5445e-07 | 6.8735e-07 | 8.9063e+30 | 1.3815e+31 | 551.7008 | 6.9547 | defects AC&scan; short BL-GR
|  | S6 | 4.6878e-07 | 3.1924e-06 | 3e+31 | 2.8696e-06 | 1.4809e-08 | 1.4752e-08 | 7.0712e-12 | 8.1887e-13 | 550.4874 | 2.1567 | BD_BL@120V; Igr high
|  | S7 | 2.9282e-07 | 4.2138e-06 | 5.4656e-07 | 3.8446e-06 | 9.404e-09 | 8.2338e-09 | 7.7544e-12 | 9.1929e-13 | 578.0958 | 4.9892 | Igr high
|  | S8 | 2.3328e-05 | 6.3124e-06 | 6.3086e-05 | 6.0038e-06 | 9.375e+29 | 5.3033e+30 | 8.2344e-12 | 8.6496e-13 | 6.25e+25 | 3.5355e+26 | ~3 defects; Igr high
|  | S9 | 3.8434e-05 | 2.5286e-05 | 0.00015664 | 3.7126e-05 | 1.875e+30 | 7.378e+30 | 7.8019e-12 | 9.2349e-13 | 1.25e+26 | 4.9187e+26 | defects; Igr high
|  | S10 | 5.6936e-05 | 9.848e-07 | 0.00019364 | 1.1404e-05 | 2.8125e+30 | 8.8843e+30 | 7.8781e-12 | 7.8203e-13 | 1.875e+26 | 5.9229e+26 | defects; Igr high

## W102
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 102 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | MCz | S1 | 4.0054e-07 | 3.5798e-09 | 6.0722e-07 | 4.276e-09 | 6.3877e-09 | 4.5547e-09 | 6.6894e-12 | 7.5173e-13 | 404.1476 | 4.1289
|  | S2 | 3.6568e-07 | 3.208e-09 | 5.211e-07 | 3.722e-09 | 5.8651e-09 | 4.019e-09 | 7.1694e-12 | 7.7106e-13 | 452.8015 | 6.0695
no OG; P-spray 3E12 |  | S3 | 3.4152e-07 | 2.9038e-09 | 4.6522e-07 | 3.3324e-09 | 5.4949e-09 | 3.6816e-09 | 7.5547e-12 | 7.2411e-13 | 482.4918 | 9.7143
no impianto scribe line |  | S4 | 3.316e-07 | 2.7808e-09 | 6.3202e-07 | 3.1522e-09 | 5.1998e-09 | 3.8474e-09 | 6.38e-12 | 8.1224e-13 | 428.6379 | 2.3913
|  | S5 | 5.539e-07 | 2.8438e-09 | 7.219e-07 | 3.4944e-09 | 8.9117e-09 | 6.7018e-09 | 6.7903e-12 | 7.493e-13 | 427.9274 | 2.2891
|  | S6 | 1.0923e-06 | 2.9998e-09 | 3e+31 | 0.0002674 | 7.3821e-08 | 9.4306e-08 | 7.2156e-12 | 8.7215e-13 | 395.1327 | 20.8381 | BD_BL@100V
|  | S7 | 4.178e-07 | 4.4158e-09 | 3e+31 | 3.2916e-05 | 1.3014e-08 | 1.0457e-08 | 8.0206e-12 | 8.3492e-13 | 462.0664 | 7.0157 | BD_BL@140V
|  | S8 | 3.136e-07 | 3.1762e-09 | 1.5362e-05 | 3.6258e-09 | 9.8988e-09 | 7.4368e-09 | 8.6306e-12 | 8.2028e-13 | 464.6 | 6.5562 | SBD_BL@135V
|  | S9 | 4.4528e-07 | 3.3932e-09 | 3e+31 | 4.1754e-09 | 1.4215e-08 | 1.1306e-08 | 8.22e-12 | 8.8217e-13 | 461.5033 | 9.6132 | BD_BL@150V
|  | S10 | 5.1494e-07 | 3.6784e-09 | 0.00037766 | 4.4094e-09 | 1.6441e-08 | 1.2899e-08 | 8.3025e-12 | 9.0405e-13 | 474.8723 | 12.2179 | BD_BL@145V

## W108
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 108 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | MCz | S1 | 4.0126e-07 | 4.1236e-09 | 5.6368e-07 | 5.0746e-09 | 6.406e-09 | 4.5707e-09 | 6.7578e-12 | 7.4675e-13 | 444.8786 | 5.5069
|  | S2 | 4.0994e-07 | 3.9786e-09 | 5.399e-07 | 4.5906e-09 | 6.6047e-09 | 4.5517e-09 | 9.375e+30 | 1.4015e+31 | 499.2513 | 8.4851 | defects AC
no OG; P-spray 3E12 |  | S3 | 3.9356e-07 | 3.639e-09 | 5.0168e-07 | 4.1656e-09 | 6.347e-09 | 4.283e-09 | 1.5469e+31 | 1.5111e+31 | 551.3551 | 11.105 | defects AC
no impianto scribe line |  | S4 | 2.9538e-07 | 3.352e-09 | 4.7314e-07 | 3.8236e-09 | 4.7854e-09 | 3.5438e-09 | 1.875e+30 | 7.3193e+30 | 529.8489 | 3.7152 | defects AC
|  | S5 | 5.8788e-07 | 3.4498e-09 | 7.51e-07 | 3.961e-09 | 9.5118e-09 | 7.1185e-09 | 1.125e+31 | 1.4639e+31 | 532.3957 | 2.35 | defects AC
|  | S6 | 5.8142e-07 | 3.6588e-09 | 3e+31 | 0.00028508 | 1.8756e-08 | 1.6598e-08 | 7.5225e-12 | 7.6179e-13 | 527.3994 | 1.7576 | BD_BL@105V
|  | S7 | 3.8862e-07 | 5.1348e-09 | 0.00028058 | 5.857e-09 | 1.2567e-08 | 9.9589e-09 | 8.3381e-12 | 9.0013e-13 | 562.6058 | 6.391 | SBD_BL@150V
|  | S8 | 2.9394e-07 | 4.1116e-09 | 4.4514e-07 | 4.6436e-09 | 9.5245e-09 | 7.1579e-09 | 8.9169e-12 | 8.5733e-13 | 533.7842 | 9.1736
|  | S9 | 4.0284e-07 | 4.673e-09 | 2.4812e-05 | 5.2782e-09 | 1.3026e-08 | 1.0402e-08 | 8.3444e-12 | 8.4983e-13 | 504.8072 | 7.8591 | SBD_BL@175V
|  | S10 | 4.4952e-07 | 5.0746e-09 | 3.4782e-06 | 5.7386e-09 | 1.4369e-08 | 1.1524e-08 | 8.3794e-12 | 9.5491e-13 | 481.2752 | 6.7964 | SBD_BL@190V

## W122
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 122 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | MCz | S1 | 3.4944e-07 | 1.1978e-08 | 4.7754e-07 | 1.6622e-08 | 5.492e-09 | 3.9964e-09 | 6.7081e-12 | 7.4028e-13 | 430.5892 | 2.6602
|  | S2 | 3.6112e-07 | 1.2308e-08 | 5.2466e-07 | 2.274e-08 | 5.5714e-09 | 3.9386e-09 | 7.1628e-12 | 7.4494e-13 | 474.024 | 4.9234
no OG; P-spray 3E12 |  | S3 | 3.3712e-07 | 1.4942e-08 | 4.5484e-07 | 1.6432e-08 | 5.3748e-09 | 3.8233e-09 | 7.6063e-12 | 7.6753e-13 | 529.8261 | 11.0955
no impianto scribe line |  | S4 | 2.707e-07 | 5.4656e-08 | 4.047e-07 | 5.2104e-08 | 4.32e-09 | 3.4097e-09 | 6.6206e-12 | 7.8077e-13 | 520.4134 | 4.9573
|  | S5 | 5.3978e-07 | 7.0222e-08 | 7.0142e-07 | 6.7636e-08 | 8.6191e-09 | 7.1013e-09 | 6.8197e-12 | 7.9446e-13 | 532.5777 | 1.8755
|  | S6 | 5.3932e-07 | 7.708e-08 | 3e+31 | 0.00010678 | 1.7141e-08 | 1.6743e-08 | 7.3731e-12 | 9.6077e-13 | 533.7348 | 1.7224 | BD_BL@105V
|  | S7 | 3.7046e-07 | 6.4256e-08 | 2.981e-05 | 6.4404e-08 | 1.2001e-08 | 1.0585e-08 | 8.1906e-12 | 9.2006e-13 | 570.9207 | 9.7628 | SBD_BL@160V
|  | S8 | 2.62e-07 | 4.788e-08 | 3.8148e-07 | 4.605e-08 | 8.6213e-09 | 7.0093e-09 | 8.8638e-12 | 8.8536e-13 | 537.634 | 8.454
|  | S9 | 3.7344e-07 | 1.9554e-08 | 5.4084e-07 | 2.171e-08 | 1.2246e-08 | 1.0389e-08 | 9.3144e-12 | 1.4219e-12 | 513.9713 | 7.2096
|  | S10 | 4.4606e-07 | 4.2554e-08 | 6.042e-07 | 4.7406e-08 | 1.4425e-08 | 1.215e-08 | 8.2575e-12 | 9.3091e-13 | 503.1825 | 7.532

## W130
0
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 130 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | MCz | S1 | 7.0994e-07 | 5.8058e-09 | 1.835e-06 | 6.964e-09 | 1.13e-08 | 8.635e-09 | 6.4722e-12 | 7.8724e-13 | 487.3495 | 2.9579
|  | S2 | 9.8676e-06 | 1.0405e-05 | 9.5738e-06 | 1.0776e-05 | 9.5761e-09 | 6.9519e-09 | 6.7959e-12 | 7.5579e-13 | 528.2747 | 7.2787 | short BL-GR
no OG; P-spray 5E12 |  | S3 | 5.131e-07 | 4.8774e-09 | 1.9074e-06 | 5.7116e-09 | 8.0653e-09 | 5.7153e-09 | 7.1803e-12 | 7.3602e-13 | 583.5756 | 64.1316 | 1 defect R
|  | S4 | 5.3412e-07 | 4.3916e-09 | 1.593e-06 | 5.3798e-09 | 8.3739e-09 | 6.5218e-09 | 6.24e-12 | 7.2257e-13 | 554.1371 | 3.8288
|  | S5 | 1.0693e-06 | 4.3446e-09 | 2.7364e-06 | 5.1692e-09 | 1.6915e-08 | 1.3606e-08 | 6.4569e-12 | 7.6436e-13 | 562.4004 | 5.0269
|  | S6 | 3e+31 | 0.00045836 | 3e+31 | 3e+31 | 3e+31 | 0 | 6.3287e-12 | 7.0152e-13 | 2e+27 | 0 | BD_BL@50V
|  | S7 | 3e+31 | 0.00015222 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.1387e-12 | 7.3215e-13 | 2e+27 | 0 | BD_BL@60V
|  | S8 | 0.00010345 | 5.3246e-09 | 3e+31 | 3e+31 | 2.8125e+31 | 7.378e+30 | 8.0944e-12 | 8.6203e-13 | 2e+27 | 0 | BD_BL@85V
|  | S9 | 3e+31 | 6.0506e-09 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.2225e-12 | 7.7899e-13 | 2e+27 | 0 | BD_BL@65V
|  | S10 | 3e+31 | 6.7396e-09 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.3225e-12 | 7.3609e-13 | 2e+27 | 0 | BD_BL@65V

## W248
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 248 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | MCz | S1 | 1.0725e-06 | 3.1964e-09 | 2.2182e-05 | 3.8586e-09 | 1.7508e-08 | 1.3175e-08 | 6.7134e-12 | 7.5966e-13 | 415.4785 | 1.4789 | SBD_BL@170V
|  | S2 | 8.3804e-07 | 2.9072e-09 | 1.9048e-06 | 3.5752e-09 | 1.3637e-08 | 1.0015e-08 | 3.2812e+30 | 9.4373e+30 | 439.6589 | 2.4504 | defects AC
no OG; P-spray 5E12 |  | S3 | 6.6498e-07 | 2.7926e-09 | 1.3128e-06 | 3.2978e-09 | 1.0796e-08 | 7.8993e-09 | 1.4063e+31 | 1.5089e+31 | 462.2679 | 4.2445 | defects AC
no impianto scribe line |  | S4 | 6.9738e-07 | 2.967e-09 | 2.4742e-05 | 3.4398e-09 | 1.1373e-08 | 9.2337e-09 | 9.375e+29 | 5.261e+30 | 431.8343 | 1.7667 | defects AC; SBD_BL@160V
|  | S5 | 1.2328e-06 | 3.3112e-09 | 1.1792e-05 | 3.828e-09 | 2.0027e-08 | 1.666e-08 | 8.9063e+30 | 1.3815e+31 | 430.1324 | 1.2538 | defects AC; SBD_BL@180V
|  | S6 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.0769e-12 | 7.4477e-13 | 2e+27 | 0 | BD_BL@50V
|  | S7 | 3e+31 | 0.00046356 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.9937e-12 | 7.4089e-13 | 2e+27 | 0 | BD_BL@55V
|  | S8 | 3e+31 | 3.0586e-09 | 3e+31 | 0.00040902 | 3e+31 | 0 | 8.7356e-12 | 8.6712e-13 | 2e+27 | 0 | BD_BL@70V
|  | S9 | 3e+31 | 5.1104e-05 | 3e+31 | 3e+31 | 3e+31 | 0 | 8.0131e-12 | 7.7412e-13 | 2e+27 | 0 | BD_BL@550V
|  | S10 | 3e+31 | 2.4982e-05 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.8962e-12 | 7.2675e-13 | 2e+27 | 0 | BD_BL@55V

## W253
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 253 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | MCz | S1 | 1.272e-06 | 2.9294e-09 | 0.00010736 | 3.6682e-09 | 2.065e-08 | 1.5567e-08 | 6.7209e-12 | 7.4955e-13 | 484.0633 | 6.0469 | SBD_BL@150V
|  | S2 | 1.0107e-06 | 2.6908e-09 | 3.4132e-06 | 3.3144e-09 | 1.6402e-08 | 1.2025e-08 | 7.0313e+30 | 1.2809e+31 | 519.0157 | 5.8375 | defects AC
no OG; P-spray 5E12 |  | S3 | 8.4378e-07 | 2.9392e-09 | 1.7434e-06 | 3.6762e-09 | 1.3687e-08 | 9.8609e-09 | 1.7813e+31 | 1.485e+31 | 566.6813 | 5.5623 | defects AC
no impianto scribe line |  | S4 | 9.208e-07 | 2.6534e-09 | 0.0001154 | 3.247e-09 | 1.5144e-08 | 1.1939e-08 | 4.6875e+30 | 1.0979e+31 | 544.0132 | 1.95 | defects AC; SBD_BL@150V
|  | S5 | 1.6886e-06 | 2.977e-09 | 0.00011022 | 3.64e-09 | 2.7519e-08 | 2.1986e-08 | 1.5938e+31 | 1.5089e+31 | 543.2174 | 40.8438 | defects AC; SBD_BL@150V
|  | S6 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 0 | 1.875e+30 | 7.378e+30 | 2e+27 | 0 | BD_BL@45V
|  | S7 | 3e+31 | 0.00016008 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.9137e-12 | 7.5219e-13 | 2e+27 | 0 | BD_BL@50V
|  | S8 | 3e+31 | 2.4734e-05 | 3e+31 | 0.0003693 | 3e+31 | 0 | 9.375e+29 | 5.3033e+30 | 2e+27 | 0 | BD_BL@65V
|  | S9 | 3e+31 | 8.0752e-05 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.9219e-12 | 8.0445e-13 | 2e+27 | 0 | BD_BL@55V
|  | S10 | 3e+31 | 9.7698e-05 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.9862e-12 | 7.7569e-13 | 2e+27 | 0 | BD_BL@55V

## W260
Lot | SMART2 |  | I_tot [A]@100 |  | I_tot [A]@200 |  | I_strip [A] |  | I_AC [A] |  | R_tot [Kohm] |  | comments
Wafer | 260 |  | BL | GR | BL | GR | mean | dev.st. | mean | dev.st. | mean | dev.st.
Sub | MCz | S1 | 1.7592e-05 | 2.4162e-09 | 3e+31 | 3.2346e-09 | 1.4062e+30 | 6.3913e+30 | 6.4263e-12 | 8.0559e-13 | 6.25e+25 | 3.5074e+26 | SBD_BL@65V; ~5 defects
|  | S2 | 9.9458e-07 | 2.3992e-09 | 1.4532e-05 | 2.9326e-09 | 1.598e-08 | 1.1507e-08 | 2.8125e+30 | 8.8135e+30 | 550.0703 | 4.0462 | SBD_BL@130V; AC defects
no OG; P-spray 5E12 |  | S3 | 7.647e-07 | 2.5058e-09 | 1.6282e-06 | 3.0192e-09 | 1.2261e-08 | 8.7491e-09 | 1.3125e+31 | 1.5e+31 | 587.5913 | 6.506 | AC defects
no impianto scribe line |  | S4 | 7.567e-07 | 2.5438e-09 | 0.0002569 | 3.3214e-09 | 1.2115e-08 | 9.4669e-09 | 9.375e+29 | 5.261e+30 | 544.5952 | 2.498 | BD_BL@140V; AC defects
|  | S5 | 1.8034e-05 | 1.899e-05 | 1.3562e-05 | 2.1736e-05 | 2.1713e-08 | 1.7029e-08 | 5.1562e+30 | 1.1408e+31 | 539.1377 | 2.1982 | AC defects; short BL-GR
|  | S6 | 3e+31 | 3e+31 | 3e+31 | 3e+31 | 2.9063e+31 | 5.3033e+30 | 6.3444e-12 | 7.0577e-13 | 2e+27 | 0 | BD_BL@45V
|  | S7 | 3e+31 | 0.0004635 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.155e-12 | 7.1511e-13 | 2e+27 | 0 | BD_BL@55V
|  | S8 | 3e+31 | 3.0624e-09 | 3e+31 | 0.00038832 | 3e+31 | 0 | 7.7731e-12 | 7.3301e-13 | 2e+27 | 0 | BD_BL@70V
|  | S9 | 3e+31 | 0.0001033 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.2144e-12 | 8.0181e-13 | 2e+27 | 0 | BD_BL@55V
|  | S10 | 3e+31 | 5.8916e-05 | 3e+31 | 3e+31 | 3e+31 | 0 | 7.5156e-12 | 7.3625e-13 | 2e+27 | 0 | BD_BL@55V