## Data
Counter Plateauing Procedure
Date: | 2009-10-21 |  |  | How to Setup DAQ:
DAQ Serial #: | 6127 |  |  | V1 (to view setup), Modify as needed, SA (to save setting) |  |  |  |  | WC 00 1F for all four channels, 2-fold coincidence
Coincidence Level: | 2-fold |  |  | Make sure that only two channels are active at a time |  |  |  |  | WC 00 13 for channels 0 & 1, Steps 1 & 2
Enabled Counters: | all four | [7 empty] | WC 00 15 for channels 0 & 2, Step 3
d: | 40 | ns | [6 empty] | WC 00 19 for channels 0 & 3, Step 4
W: | 100 | ns |  | How to Setup Counters:
Counter Layout: | Stacked |  |  | Use on-board scaler display and vary HV of PMTs to find voltages that will produce singles rates
Test Interval | 30 | seconds |  | of about 4x the expected muon flux rate. (at sea level, using detectors of 750 cm^2 area, this should be about 40Hz)
Descriminator Voltages: |  |  |  | Sweep voltage on Ch 1 to find middle of plateau, set this voltage on Ch 1 and use it as a reference for setting Ch 0
Ch 0 | 0.3 | V |  | Sweep voltage on Ch 0 to find middle of plateau, set this voltage on Ch 0 and use it as the reference for Ch 2 and Ch 3.
Ch 1 | 0.3 | V |  | Record all plateaued voltages
Ch 2 | 0.3 | V
Ch 3 | 0.3 | V |  | How to collect data:
RB (to reset scalers), use stopwatch to time for test interval, DS (to display scaler counts)
Use V1 to be sure that 2-fold coincidence mode was saved before RB resets it.
This Template requires the Analysis Toolpak Add-in to be selected: Tools/Add-ins/Analysis Toolpak
Step # | Tube Voltage |  | Ending |  |  | Count Rates & Uncertainty (decimal) | [5 empty] | Accidental
Starting Time | Ref | Test | Scaler Hex Values |  |  | Single |  | Single |  | Coincidence |  | Coincidence
Step #1 | Ch 0 | Ch 1 | S0 | S1 | S4 | S0 | s0 | S1 | s1 | S4 | s4 | Rate as %
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
WC 00 13 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Step #2 | Ch 0 | Ch 1 | S0 | S1 | S4 | S0 | s0 | S1 | s1 | S4 | s4 | Rate as %
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
WC 00 13 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Tube Voltage |  | Ending |  |  | Count Rates & Uncertainty (decimal) | [5 empty] | Accidental
Starting Time | Ref | Test | Scaler Hex Values |  |  | Single |  | Single |  | Coincidence |  | Coincidence
Step #3 | Ch 0 | Ch 2 | S0 | S2 | S4 | S0 | s0 | S2 | s2 | S4 | s4 | Rate as %
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
WC 00 15 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Step #4 | Ch 0 | Ch 3 | S0 | S3 | S4 | S0 | s0 | S3 | s3 | S4 | s4 | Rate as %
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
WC 00 19 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Plateauing results: | a
HV for Ch 0 | 0.882 | V
HV for Ch 1 | 0.751 | V
HV for Ch 2 | 0.729 | V
HV for Ch 3 | 0.761 | V
35e
WC 00 1F |  | S0 | S1 | S2 | S3 | S4 | Chnl A | Chnl B | Chnl C | Chnl D | Coincidence
[7 empty] | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0

## Charts
Step 1
Reference = Ch 0 = | 0 | V | Test = Ch 1
Step 2
Reference = Ch 1 = | 0 | V | Test = Ch 0
Step 3
Reference = Ch 0 = | 0 | V | Test = Ch 2
Step 4
Reference = Ch 0 = | 0 | V | Test = Ch 3