# Commands for the 
QNET DAQ series 6000

By Steve Kliewer, 06/24/08

Use a terminal emulator program like Hyperterm and a DB9 serial cable to attach the DAQ to a PC.  It is also possible to use a serial to USB converter.  In both cases one may have to use the Device manager: Ports tab to find the correct COMn port to use.

Normal settings for hyperterminal are: speed = 115200, 8N1, & Xon/Xoff

Clock Rates: CPLD = 10ns/tick,    TDC = 1.25 ns/tick , Timer = 40 ns/tick

w = Gate Window: Just like the “width” setting in a NIM module, the gate window determines how close together pulses must be to cause the card to trigger.  Note: In digital electronics, the term “gate” means a signal used to enable (“open the gate for”) passage of other signals or data.   WC 03 ab    WC 02 cd   Where w = 10 ns * abcd16

d = TDC Delay: This quantity determines which pulse edges get read out into the datastream when a trigger occurs by delaying this information until the trigger actually happens.  This is the part of the gate window that has already occurred (and been stored) prior to the actual trigger.  WT 01 00    WT 02 ab   where d = 10ns * ab16

Both w and d are measured in units of 10 nanoseconds, the internal clock tick interval.

Set d not less than the maximum time between signals that would justify a trigger (i.e. coincidence).

Then set w equal to d plus the time that one would like to continue recording any subsequent events after a trigger.

Suggested settings:

Flux studies:   		d = 4 (= 416 =40ns)  		w = 10 (= 0A16 =100ns)

Lifetime studies: 	d = 4 (=416 = 40ns)		w = 1000 (= 03E816 =10(s)

Shower studies: 	d = 50 (= 3216 = 1.2(s)		w = 1000 (= 03E816 =10(s)

RE

Qnet Hardware Version 2.5

IAR Compiler Vers 4.41

Loading FPGA...

FPGA-Load: 63811 bytes loaded, CheckSum=0x9F6A

FPGA-Load: ConfigDone Ok!

Quarknet Scintillator Card,  Qnet2.5  Vers 1.02  Compiled Jul  6 2007  HE=Help

Serial#=6127     uC_Volts=3.33      GPS_TempC=25.6     mBar=1026.3

Ready, Counters Disabled.

V1

Run Mode       : Off         CE or CD, Misc Cmds DC,DT  Write Cmds WC,WT

Ch(s) Enabled  : 3,2,1,0     Cmd DC C0=1F ...   (bits 3-0)

Veto Enable    : Off

Veto Select    : Ch0         Cmd DC C0=1F ...   (bits 7,6)

Coincidence 1-4: 2-Fold      Cmd DC C0=1F ...   (bits 5,4)

PipeDly,PreTrig:    40 nS    Cmd DT ... T1=00(RdDly) T2=04(WrDly) 10nS/bit

Gate Width     :   100 nS    Cmd DC ... C2=0A(LByte) C3=00(HByte) 10nS/bit

Ch0 Threshold  : 0.300 vlt

Ch1 Threshold  : 0.300 vlt

Ch2 Threshold  : 0.300 vlt

Ch3 Threshold  : 0.300 vlt

Test Pulser Vlt: 3.000 vlt

Test Pulse Ena : Off

_ TagBit(Trig)       GateWidth 100nS

..___________________________| |__________________________________________..

preTag Capture 40nS                   postTag Capture 60nS

Pipeline Dly setup sequence, CD, WT 1 0, WT 2 nn(10nS/bit)

Gate Width setup sequence,   CD, WC 2 nn(10nS/bit), WC 3 nn(2560nS/bit)

V2

PresAdj   = 1.495   Pressure Sensor Calibrate (4mV res)

Pres_mBar = 1026.5  (pSensor(1699.4)-1500) / 15 + 1013.25

Pres_inch = 30.72   mBar / 33.42

TempC     = 25.5    421- (751 * (PulseHi 78868/149765 PulseLow))

TempF     = 77.9    (TempC * 1.8) + 32

Vcc 1.8V  = 1.81    ADCval  619 * 2.93mV/bit

Vcc 1.2V  = 1.21    ADCval  412 * 2.93mV/bit

Pos 2.5V  = 2.46    ADCval  841 * 2.93mV/bit

Neg 5.0V  = 5.06    ADCval  686 * 7.38mV/bit

Vcc 3.3V  = 3.33    ADCval 1001 * 3.33mV/bit

Pressure  = 1.70    ADCval  580 * 2.93mV/bit

Pos 5.0V  = 5.00    ADCval  677 * 7.38mV/bit

5V Test     Max=5.04v    Min=4.97v    Noise=0.066v

H1

Quarknet Scintillator Card,  Qnet2.5  Vers 1.02  Compiled Jul  6 2007  HE=Help

Serial#=6127     uC_Volts=3.33      GPS_TempC=25.4     mBar=1026.5

CE     - TMC Counter Enable, 'cmd V1' for quick view of setup.

CD     - TMC Counter Disable.

DC     - Display Control Registers, (C0-C3). C3 = ab  C2 = cd  where w = 10 ns * abcd16

WC a d - Write   Control Registers, addr(0-6) data byte(H).

DT     - Display TMC Reg, 0-3, (1=RdPtr, 2=WrPtr pipeline delay).

T2 - T1 = ab    where d = 10ns * ab16

WT a d - Write   TMC Reg, addr(1,2) data byte(H), if a=4 write delay word.

DG     - Display GPS Date, Time, Position and Status.

DS     - Display Scalar, channel(S0-S3), trigger(S4), time(S5).

RE     - Reset complete board to power up defaults.

RB     - Reset only the TMC and Counters.

SB p d - Set Baud,password, 1=19K, 2=38K, 3=57K ,4=115K, 5=230K, 6=460K, 7=920K

SA n   - Save setup, baud, n=0(TMC disable), n=1(TMC enable), n=2(defaults).

TH     - Thermometer data display (@ GPS), -40 to 99 degrees C.

TL c d - Threshold Level, signal ch(0-3)(4=setAll), data(0-4095mV), TL=read.

View   - View all setup registers(cmd=V1), View board voltages(cmd=V2).

HELP   - HE,H1=Page1, H2=Page2, HB=Barometer, HS=Status, HT=Trigger.

H2

Barometer      Qnet Help Page 2

BA      - Display Barometer trim setting in mVlts and pressure as mBar.

BA d    - Calibrate Barometer by adj. trim DAC ch in mVlts (0-4095mV).

Flash

FL p    - Load Flash with Altera binary file(*.rbf), p=password.

FR      - Read FPGA setup flash, display sumcheck.

FMR p   - Read page 0-3FF(h), (264 bytes/page)

Page 100h= start fpga *.rbf file, page 0=saved setup.

GPS

NA 0    - Append NMEA GPS data Off,(include 1pps data).

NA 1    - Append NMEA GPS data On, (Adds GPS to output).

NA 2    - Append NMEA GPS data Off,(no 1pps data).

NM 0    - NMEA GPS display, Off, (default), GPS port speed 38400, locked.

NM 1    - NMEA GPS display (RMC + GGA + GSV) data.

NM 2    - NMEA GPS display (ALL) data, use with GPS display applications.

Test Pulser

TE m    - Enable run mode,  0=Off, 1=One cycle, 2=Continuous.

TD m    - Load sample trigger data list, 0=Reset, 1=Singles, 2=Majority.

TV m    - Voltage level at pulse DAC, 0-4095mV, TV=read.

Serial #

SN p n  - Store serial # to flash, p=password, n=(0-65535 BCD).

SN      - Display serial number (BCD).

Status

ST 1 m  - Send qnet status line every (m) minutes.(m=1-30, def=5).

ST 2 m  - Include scalar data channels S0-S4 after each qnet status line.

ST m    - Send Status Line now if m!=0, (m=0 to stop timer).

TI n     - Timer (day hr:min:sec.msec), TI=display time, (TI n=0 clear).

U1       - Display Uart1 (uC GPS receive port) error counter.

VM 1     - View mode, 0x80=Event_Demarcation_Bit outputs a blank line.

- View mode returns to normal after 'CD','CE','ST' or 'RE'.

HT

Timer Counter Bits 31..0  ( 8 bytes ascii)

RE0 TAG  RE0 DATA         ( 2 bytes ascii) --

FE0 TAG  FE0 DATA         ( 2 bytes ascii)   |

RE1 TAG  RE1 DATA         ( 2 bytes ascii)   | "0x80=Event_Demarcation_Bit"

FE1 TAG  FE1 DATA         ( 2 bytes ascii)   | "0x20=Edge_Tag_Bit"

RE2 TAG  RE2 DATA         ( 2 bytes ascii)   | "0x1F=Data,(5 bits)"

FE2 TAG  FE2 DATA         ( 2 bytes ascii)   |

RE3 TAG  RE3 DATA         ( 2 bytes ascii)   |

FE3 TAG  FE3 DATA         ( 2 bytes ascii) --

1PPS TIME Bits 31..0      ( 8 bytes ascii)

GPS RMC UTC  hhmmss.sss   (10 bytes ascii)             Status flag bits

GPS RMC DATE ddmmyy       ( 6 bytes ascii)             0x1 = Unused

GPS RMC STATUS A=valid    ( 1 byte  ascii)             0x2 = Trigger FIFO full

GPS GGA SATELLITES USED   ( 2 bytes ascii)             0x4 = Unused

TRIG IRQ STATUS FLAGS     ( 1 byte  ascii)             0x8 = 1PPS > +/-50nSec

GPS 1PPS to DATA DELAY mS ( 5 bytes ascii)

GPS status

Example data line with GPS receiving 6 satellites.      |

19000002 BB 00 3A 00 00 00 00 00 18193B65 152808.030 150507 A 06 0 +0096

19000003 00 2A 00 2E 00 00 00 00 18193B65 152808.030 150507 A 06 0 +0096

|______| |_0__|__1__|__2__|__3_| |______| |_________||____|   |  |  |_1PPS delay

Timer   Trigger Data, Ch 0-3     1pps     GPS Time  Date    |  |_Status flag

40nS/cnt    1.25nS/cnt(5 bits)                        DMY     |_Satellites used

View Mode 1 example

A1000002  3B00  3A00  0     0   2689372195 ...

A1000003  2A    2E    0     0   2689372195 ...

|______| |_0__|__1__|__2__|__3_||________|

Timer   Trigger Data, Ch 0-3   1pps dec

HS

Trigger IRQ Status Byte, Bit Assignments (see "HT" for location on data line)

0x1 = Unused

0x2 = Trigger FIFO full     (uC STAT LED flashes faster)

0x4 = Unused

0x8 = Current or last 1PPS tick not within 100MHz +/-50 nSec

Status Line Format for BCD1-BCD19, see "ST" command.

mBar         -> BCD1

GPS_DegC     -> BCD2/10     (nnn.n)

1PPS Delay   -> BCD3        (mSec)

CPU_Vcc      -> BCD4/1000   (3.300 volt supply)

GPS_UTC      -> BCD5

GPS_DATE     -> BCD6

GPS_VALID    -> BCD7

GPS_SAT #    -> BCD8

1PPS Time    -> BCD9

Code Version -> BCD10

Serial #     -> BCD11

TMCregs  3-0 -> BCD12-15    (4 tmc regs displayed as a 32 Bit#)

Cntlregs 3-0 -> BCD16-19    (4 cntrl regs displayed as a 32 Bit#)

ST

ST 1026 +260 +000 3333 213022 201107 A 07 00000000 102 6127 00040000 000A701F

ST 2

ST Enabled

ST

ST 1026 +260 +000 3333 213030 201107 A 06 00000000 102 6127 00040000 000A701F

DS 00000041 0000050B 00000330 00000000 000001ED

HB

BA      - Display barometer data as raw counts(BCD) and mBar.

BA bbbb - Calibrate by setting trim DAC Ch voltage(0-4095mV).

DC

DC C0=1F C1=70 C2=0A C3=00

DT

DT T0=00 T1=00 T2=04 T3=00

DG

DG

Date+Time: 20/11/07 21:30:43.005

Status:    A (valid)

PosFix#:   1

Latitude:   35:37.044723 N

Longitude: 120:40.273538 W

Altitude:  325.998m

Sats used: 7

PPS delay: +0000 msec         (CE=1 updates PPS,FPGA data)

FPGA time: 00000000

FPGA freq: 0 Hz

ChkSumErr: 0

DS

DS S0=0000005F S1=000006FA S2=00000482 S3=00000000 S4=000002AC S5=00000000

BA

BA 1495

BaroTrim= 1495mV

Pressure mBar= 1017.9

TH

TH TH=18.9

TI

TI= 00 00:36:31.491

TL

TL L0=300 L1=300 L2=300 L3=300

CE

002E3FF6 A7 00 27 00 25 00 27 00 00000000 220023.028 100707 A 08 8 +0094

002E3FF6 00 00 00 3C 00 3E 00 3B 00000000 220023.028 100707 A 08 8 +0094

002E3FF7 00 20 00 00 00 00 00 00 00000000 220023.028 100707 A 08 8 +0094

003578AB B4 00 33 00 34 00 30 00 00000000 220023.028 100707 A 08 8 +0094

003578AB 00 00 00 00 00 00 00 3D 00000000 220023.028 100707 A 08 8 +0094

003578AC 00 00 00 00 00 00 21 00 00000000 220023.028 100707 A 08 8 +0094

003578AC 00 2D 00 29 00 00 00 00 00000000 220023.028 100707 A 08 8 +0094

003578AC 00 00 00 00 00 30 00 31 00000000 220023.028 100707 A 08 8 +0094

00547DF7 BE 00 3B 00 3A 00 3C 00 00437682 220023.028 100707 A 08 8 +0094

00547DF8 00 00 00 00 00 00 00 2F 00437682 220023.028 100707 A 08 8 +0094

00547DF8 00 32 00 30 00 00 00 00 00437682 220023.028 100707 A 08 8 +0094

00547DF8 00 00 00 00 00 39 00 00 00437682 220023.028 100707 A 08 8 +0094