## Data
Counter Plateauing Procedure
Date: | 2007-07-10 |  |  | How to Setup DAQ:
DAQ Serial #: | 9116 |  |  | V1 (to view setup), Modify as needed, SA (to save setting)
Coincidence Level: | 2-fold
Enabled Counters: | all four |  |  | How to Setup Counters:
d: | 40 | ns |  | Use on-board scaler display and vary HV of PMTs to find range of voltages that will produce count rates from zero to 200/sec
W: | 100 | ns |  | Find voltage on Ch 0 that will produce about 40 Hz and set it as a reference
Counter Layout: | Stacked |  |  | Sweep voltage on Ch 1 to find middle of plateau, set this voltage on Ch 1 and use it as a reference for setting Ch 0
Test Interval | 60 | seconds |  | Sweep voltage on Ch 0 to find middle of plateau, set this voltage on Ch 0 and use it as the reference for Ch 2 and Ch 3.
Descriminator Voltages: |  |  |  | Record all plateaued voltages
Ch 0 | 0.3 | V
Ch 1 | 0.3 | V |  | How to collect data:
Ch 2 | 0.3 | V |  | RB (to reset scalers), use stopwatch to time for test interval, DS (to display scaler counts)
Ch 3 | 0.3 | V |  | Use V1 to be sure that 2-fold coincidence mode was saved before RB resets it.
Step # | Tube Voltage |  | Ending |  |  | Count Rates & Uncertainty (decimal) | [5 empty] | Accidental
Starting Time | Ref | Test | Scaler Hex Values |  |  | Single |  | Single |  | Coincidence |  | Coincidence
Step #1 | Ch 0 | Ch 1 | S0 | S1 | S4 | S0 | s0 | S1 | s1 | S4 | s4 | Rate as %
12:00 | 0.8 | 0.75 | 6FB | 41 | 30 | 29.7833 | 0.70455 | 1.0833 | 0.13437 | 0.8 | 0.11547 | 0.0008066%
|  | 0.8 | 6D4 | 164 | 106 | 29.1333 | 0.69682 | 5.9333 | 0.31447 | 4.3667 | 0.26977 | 0.0007917%
|  | 0.85 | B28 | 2F2 | 24B | 47.6 | 0.89069 | 12.5667 | 0.45765 | 9.7833 | 0.4038 | 0.001223%
|  | 0.9 | B7C | 4B4 | 316 | 49 | 0.9037 | 20.0667 | 0.57831 | 13.1667 | 0.46845 | 0.001494%
|  | 0.95 | B9D | 68F | 31B | 49.55 | 0.90875 | 27.9833 | 0.68293 | 13.25 | 0.46993 | 0.002093%
|  | 1 | B72 | 8F2 | 328 | 48.8333 | 0.90216 | 38.1667 | 0.79757 | 13.4667 | 0.47376 | 0.002768%
|  | 1.05 | AD9 | BF3 | 317 | 46.2833 | 0.87829 | 50.9833 | 0.9218 | 13.1833 | 0.46875 | 0.00358%
|  | 1.1 | B41 | 111E | 33D | 48.0167 | 0.89458 | 73.0333 | 1.1033 | 13.8167 | 0.47987 | 0.005076%
|  | 1.25 | B36 | 25F9 | 38E | 47.8333 | 0.89287 | 162.0167 | 1.6433 | 15.1667 | 0.50277 | 0.01022%
|  | 1.35 | B7F | 1239D | 397 | 49.05 | 0.90416 | 1244.2167 | 4.5538 | 15.3167 | 0.50525 | 0.07969%
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Step #2 | Ch 0 | Ch 1 | S0 | S1 | S4 | S0 | s0 | S1 | s1 | S4 | s4 | Rate as %
15:00 | 0.6 | 1 | 2C | 2A43 | 1B | 0.73333 | 0.11055 | 180.3167 | 1.7336 | 0.45 | 0.086603 | 0.005877%
| 0.65 |  | 88 | 29C1 | 69 | 2.2667 | 0.19437 | 178.15 | 1.7231 | 1.75 | 0.17078 | 0.004615%
| 0.7 |  | 304 | 297F | 260 | 12.8667 | 0.46308 | 177.05 | 1.7178 | 10.1333 | 0.41096 | 0.004496%
| 0.75 |  | 485 | 272B | 300 | 19.2833 | 0.56691 | 167.1167 | 1.6689 | 12.8 | 0.46188 | 0.005035%
| 0.8 |  | 6F7 | 292D | 329 | 29.7167 | 0.70376 | 175.6833 | 1.7112 | 13.4833 | 0.47405 | 0.007744%
| 0.85 |  | B2B | 290B | 381 | 47.65 | 0.89116 | 175.1167 | 1.7084 | 14.95 | 0.49917 | 0.01116%
| 0.9 |  | 1647 | 29DF | 3A3 | 95.05 | 1.2586 | 178.65 | 1.7255 | 15.5167 | 0.50854 | 0.02189%
| 0.95 |  | 3892 | 29F8 | 3C6 | 241.3667 | 2.0057 | 179.0667 | 1.7276 | 16.1 | 0.51801 | 0.05369%
| 1 |  | 2478F | 28DA | 421 | 2489.85 | 6.4419 | 174.3 | 1.7044 | 17.6167 | 0.54186 | 0.4927%
| 1.1 |  | 4C56CB | 293F | 509 | 83382.5833 | 37.2788 | 175.9833 | 1.7126 | 21.4833 | 0.59838 | 13.66%
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Tube Voltage |  | Ending |  |  | Count Rates & Uncertainty (decimal) | [5 empty] | Accidental
Starting Time | Ref | Test | Scaler Hex Values |  |  | Single |  | Single |  | Coincidence |  | Coincidence
Step #3 | Ch 0 | Ch 2 | S0 | S2 | S4 | S0 | s0 | S2 | s2 | S4 | s4 | Rate as %
12:00 | 0.8 | 0.7 | 266f | 8a | 6c | 163.9833 | 1.6532 | 2.3 | 0.19579 | 1.8 | 0.17321 | 0.004191%
|  | 0.75 | 2363 | 22a | 1cd | 150.9833 | 1.5863 | 9.2333 | 0.39229 | 7.6833 | 0.35785 | 0.003629%
|  | 0.8 | 215e | 3e9 | 2d3 | 142.3667 | 1.5404 | 16.6833 | 0.52731 | 12.05 | 0.44814 | 0.003942%
|  | 0.85 | 1fe2 | 547 | 2ec | 136.0333 | 1.5057 | 22.5167 | 0.6126 | 12.4667 | 0.45583 | 0.004914%
|  | 0.9 | 1eda | 7e7 | 330 | 131.6333 | 1.4812 | 33.7167 | 0.74963 | 13.6 | 0.4761 | 0.006527%
|  | 0.95 | 1d79 | c88 | 315 | 125.75 | 1.4477 | 53.4667 | 0.94399 | 13.15 | 0.46815 | 0.01023%
|  | 1 | 1c98 | 1ace | 36d | 122 | 1.4259 | 114.3667 | 1.3806 | 14.6167 | 0.49357 | 0.01909%
|  | 1.05 | 1ac7 | 30a7 | 388 | 114.25 | 1.3799 | 207.5833 | 1.86 | 15.0667 | 0.50111 | 0.03148%
|  | 1.1 | 1b14 | f2b3 | 38a | 115.5333 | 1.3876 | 1035.5167 | 4.1543 | 15.1 | 0.50166 | 0.1585%
|  | 1.15 | 1bcd | 11778f | 3d8 | 118.6167 | 1.406 | 19078.65 | 17.8319 | 16.4 | 0.52281 | 2.76%
|  | 0.9 | 1a3e | 814 | 31b | 111.9667 | 1.3661 | 34.4667 | 0.75792 | 13.25 | 0.46993 | 0.005825%
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Step #4 | Ch 0 | Ch 3 | S0 | S3 | S4 | S0 | s0 | S3 | s3 | S4 | s4 | Rate as %
12:00 | 0.8 | 0.7 | 7b2 | 33 | 22 | 32.8333 | 0.73974 | 0.85 | 0.11902 | 0.56667 | 0.097183 | 0.000985%
|  | 0.75 | 7ab | a4 | 7d | 32.7167 | 0.73843 | 2.7333 | 0.21344 | 2.0833 | 0.18634 | 0.0008585%
|  | 0.8 | 805 | 23c | 1d0 | 34.2167 | 0.75517 | 9.5333 | 0.39861 | 7.7333 | 0.35901 | 0.0008436%
|  | 0.85 | 7e1 | 3c3 | 2db | 33.6167 | 0.74852 | 16.05 | 0.5172 | 12.1833 | 0.45062 | 0.0008857%
|  | 0.9 | 824 | 4f3 | 2f8 | 34.7333 | 0.76085 | 21.1167 | 0.59325 | 12.6667 | 0.45947 | 0.001158%
|  | 0.95 | 823 | 693 | 306 | 34.7167 | 0.76066 | 28.05 | 0.68374 | 12.9 | 0.46368 | 0.00151%
|  | 1.05 | 733 | bcb | 2ad | 30.7167 | 0.7155 | 50.3167 | 0.91576 | 11.4167 | 0.43621 | 0.002708%
|  | 1.15 | 58a | 169a | 246 | 23.6333 | 0.62761 | 96.4333 | 1.2678 | 9.7 | 0.40208 | 0.004699%
|  | 1.25 | 80d | 29a5a3 | 301 | 34.35 | 0.75664 | 45489.65 | 27.5347 | 12.8167 | 0.46218 | 2.438%
|  | 1.15 | 805 | 551a | 311 | 34.2167 | 0.75517 | 363.1 | 2.46 | 13.0833 | 0.46696 | 0.01899%
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Plateauing results:
HV for Ch 0 | 0.8 | V
HV for Ch 1 | 1 | V
HV for Ch 2 | 0.9 | V
HV for Ch 3 | 0.95 | V

## Charts
Step 1
Reference = Ch 0 = | 0.8 | V | Test = Ch 1
Step 2
Reference = Ch 1 = | 1 | V | Test = Ch 0
Step 3
Reference = Ch 0 = | 0.8 | V | Test = Ch 2
Step 4
Reference = Ch 0 = | 0.8 | V | Test = Ch 3